## PD
Category | Aspect | Subgroup | Name | Definition | Value | Answers | note
Functionality | Traceability | Spectra | Tracable spectra | Results tracable to original spectra | Y/N | yes
Functionality | Traceability | Spectra | Universal spectrum identifiers | Workflow generates USIs (Universal Spectrum Identifier) | Y/N | no
Functionality | Traceability | Spectra | Peptide to spectra | Corresponding spectrum numbers/ids available from peptide level | Y/N | yes
Functionality | Traceability | Spectra | Protein to spectra | Corresponding spectrum numbers/ids available from protein level | Y/N | yes
Functionality | Traceability | File names | Results to raw files | Raw input file names preserved in tables on PSM/peptide/protein level | Y/N | no | software renamed file as F1, F2 ...
Functionality | Traceability | File names | Public raw files | Raw files publicly available | Y/N | yes
Functionality | Traceability | Parameters | Settings | Are all processing settings available with result files | Y/N | no | info into workflow (processing, consensus)
Functionality | Traceability | Parameters | Experimental design | Biological and technical replicates can be identified in results | Y/N | no
Functionality | Reproducibility | Files | Identity | Can exact result be reproduced | Y/N | yes
Functionality | Performance | Identification | PSM number | Number of identified PSMs passing preset FDR | Integer | 495636
Functionality | Performance | Identification | Peptide number | Number of uniquely identified peptide identifications passing preset FDR | Integer | 15182
Functionality | Performance | Identification | Protein number | Number of uniquely identified protein identifications passing preset FDR | Integer | 4808
Functionality | Performance | Identification | Protein group number | Number of different protein groups passing preset FDR | Integer | 4808
Functionality | Performance | Identification | Peptide coverage | Percentage of peptides identified in all samples | Double |  | By hand calculation
Functionality | Performance | Identification | Protein coverage | Percentage of proteins identified in all samples | Double |  | By hand calculation
Functionality | Performance | Identification | Peptides per protein | Distribution of peptides per protein group | Set of Integer |  | By hand calculation
Functionality | Performance | Quantification | CV peptides | Median of CVs of peptides within replicates | Double | no
Functionality | Performance | Quantification | CV proteins | Median of CVs of protein groups within replicates | Double | no
Functionality | Performance | Quantification | Correlation peptides | Mean of Pearsson correlation of protein abundances between replicates (log2-scale) | Double | no
Functionality | Performance | Quantification | Correlation proteins | Mean of Pearsson correlation of peptide abundances between replicates (log2-scale) | Double | no
Functionality | Performance | Quantification | Number peptides | Number of quantified peptides with at least 50% coverage | Integer |  | no
Functionality | Performance | Quantification | Number protein groups | Number of quantified proteins groups with at least 50% coverage | Integer | no | by hand calculation
Functionality | Performance | Quantification | Dynamic peptide range | Difference of peptide abundance (top 5% versus bottom 5% quantile) | Double | no | by hand calculation
Functionality | Performance | Quantification | Dynamic protein range | Difference of protein abundance (top 5% versus bottom 5% quantile) | Double | no | by hand calculation
Functionality | Performance | Ground truth / Quantification | Fold-change precision | Mean squared error of protein fold changes (only for proteins with known fold change) | Double | no
Functionality | Performance | Ground truth / Statistics | AUCs | AUCs of ROC curves | Set of Double | no
Functionality | Performance | Ground truth / Statistics | FDRs 5% | FDR of proteins assuming a theoretical threshold of 5% | Set of Double | no
Functionality | Performance | Ground truth / Statistics | FDRs 1% | FDR of proteins assuming a theoretical threshold of 1% | Set of Double | no
Functionality | Performance | Statistics | Differentially regulated peptides 5% | Number of differentially regulated peptides with FDR below 5% | Set of Double | no
Functionality | Performance | Statistics | Differentially regulated proteins 5% | Number of differentially regulated proteins with FDR below 5% | Set of Double | no
Functionality | Performance | Statistics | Differentially regulated peptides 1% | Number of differentially regulated peptides with FDR below 1% | Set of Double | no
Functionality | Performance | Statistics | Differentially regulated proteins 1% | Number of differentially regulated proteins with FDR below 1% | Set of Double | no
Functionality | Performance | Statistics | Missing peptide values | Percentage of missing values in entire peptide set | Double |  | by hand calculation
Functionality | Performance | Statistics | Missing protein values | Percentage of missing values in entire protein set | Double |  | by hand calculation
Functionality | Performance | Ground truth / Linearity | Protein linearity | Median number of UPS concentrations showing best linearity (the lowest concentrations may be off); number of UPS proteins with 'good' linear correlation (eg number of UPS proteins with linear regression p-value < 0.05 or score proposed in vignette to R package wrProteo) | Double
Functionality | Performance | Digestion | Digestion efficiency | Distribution of number of miscleavages | Set of Double |  | by hand calculation
Functionality | Performance | PTMs | PTM Distribution | Percentage of peptides with PTM xyz | Set of Double |  | by hand calculation
Functionality | Performance | PTMs | PTM Occupancy | Distribution of peptides with 1,2,... PTMs | Set of Double |  | by hand calculation
Functionality | Parameter | Identification | Database size | Number of entries in fasta file | Integer | 6099
Functionality | Parameter | Identification | Canonical sequences | Database includes canonical sequences | Y/N | yes
Functionality | Parameter | identification | PTM localization | Is PTM localization scoring software included in the workflow | Y/N | no
Functionality | Parameter | identification | Parsimony | Parsimony principle used | Y/N | yes
Functionality | Parameter | Quantification | Alignment | Chromatographic alignment/match between runs performed | Y/N | no
Functionality | Parameter | Quantification | Imputation | Missing value (NA) imputation performed | Y/N | no
Functionality | Parameter | Quantification | Log-transformation | Are reported quantitative values log-transformed | Y/N | no
Functionality | Parameter | Quantification | Normalization | Normalisation of quantitative values performed | Y/N | no
Functionality | Parameter | Quantification | Peptide number | Minimal number of peptides per protein | Integer | 1
Reliability | Ground truth |  | Ground truth | Data contains proteins with known concentrations | Y/N
Efficiency | Resource utilization | Time | Run time | Run time of workflow (seconds) | Double | 194400s (approximately 2 days and a half)
Efficiency | Resource utilization | Time | CPU time | Time of CPU (thread) usage (seconds) | Double |  | not available
Efficiency | Resource utilization | Time | CPU usage | Percentage of actual usage of CPUs/threads | Double |  | not available
Efficiency | Resource utilization | Memory | Peak RAM | Largest RAM usage (MB) | Double |  | not available
Efficiency | Resource utilization | Memory | Average RAM | Average usage of RAM (MB) | Double |  | not available
Efficiency | Resource utilization | Storage | Maximum disk space | Maximal disk space used by NextFlow during the workflow execution (MB) | Double |  | not available
Efficiency | Scalability |  | Linear scaling | Does e.g. workflow execution scale above O(n) with database size? | Y/N | no
Usability | Anything to port from https://docs.google.com/document/d/1_L5D23x6zrotQVpz3xGpX4lgwai2sDJwSA8jPAevoeg/edit#?
Usability | Documentation |  |  | Available Documentation to run the workflow? | Y/N | no
Maintainability | Analyzability | Annotation | Workflow components | Percentage of workflow components with matching EDAM data/format in bio.tools | Double
Portability | Installability | Packaging | Environment | Can the workflow be executed with NextFlow? Only Docker or also via conda? | Conda/Docker/None | no
| Co-existence |  | Dependencies | Over there incompatible dependencies between tools |  | no